## SparkControl magellan Sheet 1
Date of measurement: 2026-06-26/Time of measurement: 12:12:04
Resazurin96well.mth
NIFA_Resazurin_24_T1_26062026_1211.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
PlateLayout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
ExcitationWavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
EmissionWavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
SettleTime: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 24.1 °C
Date: 2026-06-26, Time: 12:12:04
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 24638 | 17282 | 20136 | 17579 | 13580 | 33850 | 24629 | 8038 | 3426 | 5627 | 9872 | 7872
B | 29131 | 6413 | 8010 | 26220 | 18423 | 21606 | 21888 | 6867 | 14493 | 2780 | 2733 | 4323
C | 20556 | 7087 | 10506 | 9716 | 5959 | 6089 | 6435 | 3584 | 5434 | 3936 | 2961 | 9722
D | 5250 | 25611 | 12263 | 21349 | 20451 | 32065 | 5398 | 4882 | 13514 | 3284 | 8113 | 3955
E | 20194 | 10864 | 3515 | 4583 | 25295 | 14609 | 12178 | 2689 | 5193 | 2907 | 3137 | 4073
F | 17508 | 6962 | 18216 | 16405 | 8382 | 24594 | 4719 | 2472 | 5000 | 3493 | 10789 | 2738
G | 2230 | 2450 | 2295 | 2494 | 2083 | 2313 | 2341 | 3276 | 2038 | 3140 | 1971 | 3601
H