## SparkControl magellan Sheet 1
Date of measurement: 2026-06-26/Time of measurement: 13:19:53
Resazurin96well.mth
NIFA_Resazurin_24_T2_26062026_1218.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
PlateLayout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
ExcitationWavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
EmissionWavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
SettleTime: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 25.5 °C
Date: 2026-06-26, Time: 13:19:53
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 36383 | 22095 | 24984 | 22026 | 29171 | 35630 | 31236 | 11564 | 4927 | 7761 | 13626 | 8898
B | 43104 | 9506 | 9269 | 33710 | 33257 | 34861 | 39739 | 9301 | 18687 | 3827 | 3986 | 8188
C | 23122 | 17742 | 15793 | 11804 | 10062 | 10475 | 9048 | 4226 | 9182 | 6325 | 4702 | 15486
D | 6355 | 39911 | 13721 | 24766 | 28875 | 41763 | 12209 | 6248 | 16204 | 4657 | 9983 | 5717
E | 26547 | 22018 | 4104 | 7750 | 44093 | 22012 | 16732 | 3759 | 6515 | 4015 | 5400 | 6637
F | 25402 | 12809 | 27621 | 18553 | 9634 | 28312 | 7142 | 3141 | 6382 | 4272 | 13575 | 3905
G | 2392 | 2881 | 2444 | 2841 | 2070 | 2829 | 2250 | 3161 | 2700 | 3271 | 2316 | 5124
H