## SparkControl magellan Sheet 1
Date of measurement: 2026-06-26/Time of measurement: 15:16:14
Resazurin96well.mth
26062026-006.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
PlateLayout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
ExcitationWavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
EmissionWavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
SettleTime: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 26.1 °C
Date: 2026-06-26, Time: 15:16:14
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 36039 | 22485 | 35923 | 23941 | 48855 | 39509 | 29822 | 15999 | 6683 | 11318 | 20708 | 9343
B | 45493 | 12962 | 19231 | 40446 | 41031 | 38818 | 41285 | 9596 | 22537 | 5782 | 5148 | 11747
C | 28281 | 21021 | 20981 | 15275 | 15214 | 21402 | 11093 | 5637 | 14188 | 9112 | 6523 | 22389
D | 7317 | 49287 | 18178 | 24547 | 34574 | 46801 | 13606 | 9268 | 18343 | 6589 | 11508 | 9427
E | 32008 | 31221 | 5934 | 10859 | 44918 | 28212 | 26855 | 4842 | 9836 | 5501 | 8992 | 9982
F | 31197 | 18767 | 38298 | 21047 | 12029 | 32317 | 10841 | 4053 | 7819 | 5811 | 15964 | 6411
G | 2299 | 3004 | 2007 | 3378 | 2121 | 2769 | 2140 | 3067 | 2280 | 4151 | 2413 | 7737
H