## SparkControl magellan Sheet 1
Date of measurement: 2026-06-28/Time of measurement: 09:59:33
Resazurin96well.mth
NIFA_Resazurin_26_T0_28062026_1000.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-E12;F1-F7;F9-F12;G1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 22.0 °C
Date: 2026-06-28, Time: 09:59:33
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2406 | 2526 | 4333 | 2486 | 2375 | 2632 | 2349 | 2352 | 2551 | 2595 | 2398 | 2422
B | 2533 | 2355 | 2410 | 2828 | 2508 | 2538 | 2350 | 2340 | 2673 | 2570 | 2712 | 2673
C | 2315 | 2437 | 3818 | 2394 | 2463 | 2923 | 2420 | 2358 | 2445 | 2265 | 2394 | 2551
D | 2458 | 2430 | 2392 | 2336 | 2274 | 2697 | 2215 | 2328 | 2291 | 2425 | 2424 | 2526
E | 2657 | 2476 | 2365 | 2394 | 2245 | 2181 | 2266 | 2186 | 2275 | 2412 | 2309 | 2557
F | 2350 | 2364 | 2313 | 2428 | 2339 | 2258 | 2193 |  | 2346 | 2333 | 2318 | 2323
G | 2366 | 2297 | 2248 | 2287 | 2276 | 2299 | 2370 | 2514 | 2378 | 2531 | 2230 | 2516
H