## SparkControl magellan Sheet 1
Date of measurement: 2026-06-28/Time of measurement: 10:59:47
Resazurin96well.mth
28062026-003.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-E12;F1-F7;F9-F12;G1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 23.2 °C
Date: 2026-06-28, Time: 10:59:47
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 32209 | 18486 | 26826 | 4017 | 16000 | 18600 | 9447 | 5693 | 11339 | 5343 | 18067 | 10335
B | 29536 | 3910 | 11136 | 23468 | 27221 | 13113 | 12393 | 3174 | 6970 | 5727 | 3824 | 4054
C | 27199 | 26083 | 7152 | 15973 | 19513 | 25816 | 8790 | 23020 | 3664 | 16847 | 4993 | 4638
D | 29168 | 16618 | 27060 | 18857 | 14204 | 17012 | 12726 | 10753 | 12409 | 11464 | 14818 | 14110
E | 10463 | 17295 | 29384 | 28458 | 14283 | 15068 | 18778 | 13471 | 17425 | 4212 | 4855 | 5531
F | 8654 | 15934 | 7962 | 16480 | 7707 | 14367 | 9536 |  | 7159 | 18243 | 6809 | 3307
G | 2456 | 2556 | 2176 | 3021 | 2234 | 2926 | 2210 | 2888 | 2200 | 3751 | 2092 | 2850
H