## SparkControl magellan Sheet 1
Date of measurement: 2026-06-28/Time of measurement: 12:07:15
Resazurin96well.mth
28062026-004.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-E12;F1-F7;F9-F12;G1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 23.8 °C
Date: 2026-06-28, Time: 12:07:15
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 33886 | 27884 | 35413 | 5308 | 16043 | 23215 | 12468 | 6768 | 12364 | 9065 | 21582 | 23376
B | 43126 | 5536 | 12329 | 31893 | 46015 | 16046 | 13832 | 3826 | 11806 | 7312 | 5483 | 7957
C | 41179 | 33967 | 13425 | 18882 | 30198 | 33505 | 11233 | 25657 | 4831 | 32128 | 10488 | 7164
D | 36058 | 25273 | 29940 | 20396 | 25252 | 22278 | 14695 | 12544 | 16491 | 12716 | 19599 | 21078
E | 14388 | 31053 | 40779 | 33474 | 26314 | 30986 | 25543 | 15478 | 19960 | 6547 | 5896 | 7363
F | 17444 | 26360 | 16197 | 18913 | 13572 | 26688 | 14849 |  | 10405 | 20044 | 8334 | 5086
G | 2445 | 3450 | 2319 | 4584 | 2233 | 3359 | 2139 | 3747 | 2102 | 4494 | 2095 | 3495
H