## SparkControl magellan Sheet 1
Date of measurement: 2026-06-28/Time of measurement: 13:01:22
Resazurin96well.mth
28062026-005.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-E12;F1-F7;F9-F12;G1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 24.6 °C
Date: 2026-06-28, Time: 13:01:22
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 34032 | 35806 | 37478 | 6922 | 17792 | 25151 | 14259 | 7463 | 15770 | 10200 | 22743 | 24592
B | 44612 | 6378 | 18654 | 32622 | 54498 | 18332 | 20298 | 4480 | 12963 | 9142 | 5823 | 10117
C | 42558 | 35107 | 19107 | 19006 | 36548 | 35773 | 12036 | 26601 | 5594 | 40490 | 11805 | 8415
D | 36600 | 30258 | 31026 | 22839 | 28884 | 27077 | 15703 | 14021 | 16896 | 15226 | 21619 | 22403
E | 23800 | 29722 | 39882 | 35038 | 35712 | 30575 | 24434 | 15709 | 20725 | 7692 | 6763 | 9180
F | 23591 | 34650 | 21816 | 20189 | 13940 | 22862 | 14484 |  | 11756 | 20678 | 10163 | 5404
G | 2368 | 3939 | 2235 | 5668 | 2318 | 4944 | 2301 | 5067 | 2293 | 6270 | 2227 | 4487
H