## SparkControl magellan Sheet 1
Date of measurement: 2026-06-28/Time of measurement: 14:06:17
Resazurin96well.mth
28062026-006.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-E12;F1-F7;F9-F12;G1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 24.7 °C
Date: 2026-06-28, Time: 14:06:17
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 35173 | 36650 | 40148 | 7999 | 19125 | 27874 | 17810 | 8131 | 16226 | 10575 | 24018 | 26847
B | 47289 | 7523 | 17337 | 34854 | 61815 | 17828 | 27340 | 5055 | 14608 | 10657 | 6979 | 13772
C | 45699 | 47200 | 23562 | 20315 | 39082 | 39731 | 14916 | 27448 | 6514 | 39673 | 15012 | 10330
D | 37731 | 31839 | 34196 | 24814 | 34387 | 29022 | 17206 | 15595 | 17814 | 17468 | 27952 | 24112
E | 32513 | 48478 | 47130 | 39413 | 42143 | 34817 | 28097 | 16583 | 22478 | 9572 | 7881 | 11141
F | 24561 | 39122 | 21332 | 23819 | 15296 | 29945 | 17063 |  | 14453 | 22478 | 11771 | 6234
G | 2457 | 4732 | 2206 | 6420 | 2209 | 5806 | 2314 | 5275 | 2246 | 7665 | 2248 | 5888
H