## SparkControl magellan Sheet 1
Date of measurement: 2026-06-30/Time of measurement: 10:26:28
Resazurin96well.mth
30062026-001.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 23.3 °C
Date: 2026-06-30, Time: 10:26:28
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2426 | 2516 | 2554 | 2383 | 2403 | 2612 | 2652 | 2513 | 2389 | 2754 | 2501 | 2540
B | 2492 | 2445 | 2650 | 2448 | 2810 | 2657 | 2507 | 2635 | 2490 | 2484 | 2484 | 2795
C | 2690 | 2562 | 2821 | 2649 | 2370 | 2840 | 2418 | 2343 | 2363 | 2893 | 2827 | 3038
D | 2938 | 2403 | 2726 | 2504 | 2602 | 2977 | 2495 | 2315 | 2524 | 2665 | 2903 | 2619
E | 2909 | 2729 | 2958 | 2632 | 2375 | 2642 | 2547 | 2300 | 2802 | 2459 | 2422 | 2706
F | 2497 | 2612 | 2543 | 2758 | 2430 | 2709 | 2391 | 2248 | 2428 | 2569 | 2510 | 2602
G | 2269 | 2368 | 2262 | 2489 | 2239 | 2450 | 2266 | 3100 | 2271 | 2646 | 2181 | 2678
H