## SparkControl magellan Sheet 1
Date of measurement: 2026-06-30/Time of measurement: 11:21:48
Resazurin96well.mth
30062026-002.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 25.0 °C
Date: 2026-06-30, Time: 11:21:48
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 9785 | 10173 | 27666 | 6936 | 13136 | 15971 | 12301 | 19519 | 18935 | 16231 | 20684 | 4806
B | 20985 | 38117 | 29624 | 11814 | 23727 | 5863 | 24298 | 7099 | 6365 | 17434 | 7351 | 6805
C | 17159 | 33552 | 15026 | 11505 | 12878 | 23867 | 9125 | 9416 | 5112 | 26186 | 9062 | 11801
D | 29151 | 4402 | 20285 | 15913 | 4782 | 42696 | 3442 | 23336 | 15873 | 26960 | 7692 | 13083
E | 35393 | 22136 | 9158 | 14411 | 7133 | 4007 | 14430 | 10571 | 25320 | 5293 | 25424 | 17043
F | 24106 | 4990 | 12896 | 23184 | 10394 | 5325 | 10357 | 7274 | 14848 | 26753 | 7415 | 14578
G | 2293 | 2971 | 2157 | 2878 | 2140 | 2310 | 2113 | 5084 | 2143 | 3154 | 2157 | 3081
H