## SparkControl magellan Sheet 1
Date of measurement: 2026-06-30/Time of measurement: 12:27:21
Resazurin96well.mth
30062026-004.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 25.7 °C
Date: 2026-06-30, Time: 12:27:21
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 11901 | 20136 | 32005 | 8660 | 14670 | 25668 | 14500 | 24713 | 20857 | 26751 | 27044 | 8159
B | 23078 | 55603 | 31364 | 13842 | 26062 | 9680 | 21934 | 10444 | 8199 | 28048 | 10208 | 9524
C | 24146 | 63752 | 18340 | 17682 | 21754 | 27733 | 12122 | 12313 | 6429 | 37181 | 14025 | 15232
D | 53947 | 6089 | 33005 | 19226 | 7430 | 57796 | 6374 | 28424 | 27991 | 32751 | 14667 | 17281
E | 45052 | 40960 | 13237 | 18369 | 18039 | 6215 | 17939 | 12332 | 28363 | 8143 | 30423 | 20284
F | 24887 | 7282 | 19787 | 27616 | 12546 | 12527 | 16081 | 8856 | 16937 | 32692 | 10027 | 16565
G | 2332 | 4523 | 2121 | 3715 | 2175 | 2677 | 2153 | 9995 | 2150 | 5414 | 2155 | 4538
H