## SparkControl magellan Sheet 1
Date of measurement: 2026-06-30/Time of measurement: 13:35:17
Resazurin96well.mth
30062026-008.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 70 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 26.3 °C
Date: 2026-06-30, Time: 13:35:17
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 7164 | 11044 | 34857 | 5808 | 9276 | 18413 | 9431 | 15244 | 11631 | 17132 | 16702 | 5232
B | 14377 | 36747 | 18208 | 9637 | 18941 | 5684 | 13718 | 6716 | 5656 | 16636 | 8180 | 6204
C | 16202 | 40875 | 11082 | 10828 | 19170 | 15963 | 7713 | 7329 | 3921 | 21079 | 9760 | 15878
D | 30667 | 3738 | 24064 | 11260 | 5082 | 31690 | 5209 | 15748 | 15598 | 18042 | 7828 | 10555
E | 28980 | 23591 | 9523 | 10725 | 14400 | 4553 | 10407 | 6752 | 16255 | 5276 | 18560 | 11373
F | 13846 | 4721 | 13236 | 17396 | 7623 | 10445 | 8803 | 5693 | 10587 | 18097 | 6306 | 12439
G | 1172 | 2507 | 1196 | 2119 | 1110 | 1527 | 1174 | 5901 | 1139 | 3889 | 1138 | 2905
H