## SparkControl magellan Sheet 1
Date of measurement: 2026-06-30/Time of measurement: 13:30:12
Resazurin96well.mth
30062026-006.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 26.3 °C
Date: 2026-06-30, Time: 13:30:12
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 14248 | 21819 | 52614 | 11478 | 18142 | 35770 | 18526 | 29899 | 23025 | 33686 | 32061 | 10287
B | 28387 | Overflow | 35817 | 19115 | 37101 | 11202 | 26808 | 13319 | 11185 | 32612 | 16034 | 12032
C | 31649 | Overflow | 21632 | 21471 | 37664 | 30966 | 15241 | 14194 | 7778 | 41099 | 18847 | 30606
D | 60500 | 7531 | 48041 | 22848 | 10308 | 63112 | 10525 | 31625 | 31271 | 35489 | 15360 | 20465
E | 57696 | 47245 | 19189 | 21670 | 29001 | 9289 | 20964 | 13722 | 32517 | 10607 | 37470 | 22801
F | 27799 | 9571 | 26751 | 34977 | 15469 | 21091 | 17851 | 11605 | 21251 | 36171 | 12690 | 25070
G | 2360 | 5057 | 2395 | 4283 | 2231 | 3085 | 2380 | 11915 | 2291 | 7852 | 2292 | 5837
H