## SparkControl magellan Sheet 1
Date of measurement: 2026-06-30/Time of measurement: 14:28:08
Resazurin96well.mth
30062026-010.wsp
5300nm - 5900nm
Unknown user
SPARK
Instrument serial number: 2602005844
Name: NUN96fb_OpticalBottom
Plate layout:
Plate area: A1-G12
Fluorescence Intensity
Name: Resazurin
Mode: Fluorescence Top Reading
Excitation: Monochromator
Excitation wavelength: 530 [nm]
ExcitationBandwidth: 20 [nm]
Emission: Monochromator
Emission wavelength: 590 [nm]
EmissionBandwidth: 20 [nm]
Gain: 77 Manual
Mirror: AUTOMATIC
Number of flashes: 30
IntegrationTime: 40 [µs]
Lag time: 0 [µs]
Settle time: 0 [ms]
Z-Position: 20000 [μm]
Z-Position mode: Manual
Meas. temperature: Raw data: 26.5 °C
Date: 2026-06-30, Time: 14:28:08
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 29525 | 31432 | 55060 | 11986 | 19614 | 33067 | 22185 | 34158 | 25727 | 40067 | 33204 | 11958
B | 29999 | Overflow | 39563 | 18450 | 44574 | 14330 | 30954 | 16887 | 13142 | 35955 | 18289 | 13774
C | 35966 | Overflow | 25272 | 27432 | 44855 | 38632 | 17247 | 17359 | 9178 | 46991 | 25562 | 30975
D | 64245 | 9091 | 48108 | 24830 | 12270 | Overflow | 11470 | 32495 | 41812 | 42807 | 21060 | 23666
E | 59120 | 47505 | 20797 | 22990 | 39624 | 11963 | 27423 | 14874 | 38078 | 12676 | 47822 | 26271
F | 26940 | 23870 | 36080 | 32844 | 16957 | 25324 | 20300 | 13201 | 26009 | 39293 | 15102 | 25091
G | 2509 | 7029 | 2299 | 5099 | 2213 | 3271 | 2275 | 13040 | 2213 | 8377 | 2267 | 5960
H