## Plate 20 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_plate2_T4_260401_1610.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 20
Date | 2026-04-01
Time | 16:09
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 7449 | 1167 | 631 | 858 | 1005 | 782 | 2021 | 698 | 1118 | 1411 | 2280 | 599 | 530/25,590/35
| B | 1673 | 885 | 873 | 758 | 1109 | 1429 | 1036 | 480 | 1164 | 3448 | 1260 | 656 | 530/25,590/35
| C | 3203 | 1013 | 627 | 500 | 1180 | 2241 | 1475 | 2582 | 1130 | 1294 | 1661 | 586 | 530/25,590/35
| D | 5329 | 671 | 848 | 2044 | 1168 | 1275 | 1591 | 855 | 1304 | 2099 | 2455 | 1798 | 530/25,590/35
| E | 1685 | 1036 | 1861 | 686 | 909 | 878 | 1726 | 3295 | 1488 | 914 | 1615 | 1535 | 530/25,590/35
| F | 3527 | 927 | 1393 | 2447 | 804 | 3437 | 1287 | 4623 | 816 | 1942 | 1666 | 2045 | 530/25,590/35
| G | 1240 | 1247 | 4344 | 1477 | 1149 | 4254 | 1459 | 3306 | 1264 | 720 | 866 | 770 | 530/25,590/35
| H | 414 | 484 | 424 | 400 | 408 | 401 | 416 | 399 | 400 | 656 | 469 | 479 | 530/25,590/35