## Plate 10 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_plate3_T2_260401_1353.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 10
Date | 2026-04-01
Time | 13:52
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1154 | 1294 | 541 | 981 | 1189 | 812 | 1835 | 502 | 789 | 458 | 1358 | 642 | 530/25,590/35
| B | 656 | 1230 | 490 | 488 | 671 | 541 | 1320 | 890 | 976 | 924 | 844 | 533 | 530/25,590/35
| C | 1472 | 934 | 881 | 576 | 629 | 766 | 1819 | 627 | 916 | 1133 | 585 | 887 | 530/25,590/35
| D | 1532 | 653 | 1346 | 1310 | 966 | 719 | 977 | 978 | 707 | 516 | 832 | 846 | 530/25,590/35
| E | 1394 | 978 | 797 | 1358 | 1354 | 2186 | 2848 | 617 | 1431 | 1855 | 939 | 563 | 530/25,590/35
| F | 2211 | 667 | 408 | 1172 | 899 | 2387 | 1860 | 574 | 1299 | 1457 | 679 | 587 | 530/25,590/35
| G | 689 | 824 | 966 | 801 | 1325 | 578 | 1726 | 674 | 727 | 519 | 509 | 634 | 530/25,590/35
| H | 443 | 442 | 496 | 466 | 526 | 506 | 474 | 467 | 485 | 410 | 430 | 425 | 530/25,590/35