## Plate 15 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_plate3_T3_260401_1457.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 15
Date | 2026-04-01
Time | 14:56
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1481 | 1695 | 620 | 1219 | 1585 | 1037 | 2362 | 640 | 1011 | 508 | 1766 | 903 | 530/25,590/35
| B | 765 | 1505 | 568 | 514 | 724 | 612 | 1520 | 1146 | 1283 | 1102 | 1074 | 721 | 530/25,590/35
| C | 1869 | 1097 | 1080 | 681 | 703 | 902 | 1990 | 808 | 1132 | 1320 | 728 | 1277 | 530/25,590/35
| D | 2027 | 812 | 1502 | 1404 | 1254 | 884 | 1255 | 1261 | 896 | 572 | 1011 | 1146 | 530/25,590/35
| E | 1795 | 1275 | 907 | 1538 | 1759 | 2659 | 3111 | 786 | 1969 | 2176 | 1110 | 714 | 530/25,590/35
| F | 2919 | 748 | 441 | 1499 | 1157 | 3479 | 2406 | 749 | 1741 | 1930 | 761 | 697 | 530/25,590/35
| G | 827 | 996 | 1173 | 949 | 1731 | 642 | 2150 | 784 | 928 | 588 | 561 | 758 | 530/25,590/35
| H | 478 | 478 | 551 | 522 | 596 | 570 | 527 | 511 | 521 | 432 | 449 | 444 | 530/25,590/35