## Plate 1 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t0_30C_260504_1111.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 1
Date | 2026-05-04
Time | 11:11
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 338 | 406 | 325 | 388 | 358 | 327 | 1256 | 395 | 384 | 429 | 379 | 345 | 530/25,590/35
| B | 371 | 344 | 353 | 360 | 289 | 354 | 343 | 353 | 340 | 334 | 361 | 389 | 530/25,590/35
| C | 368 | 351 | 358 | 346 | 315 | 360 | 333 | 415 | 354 | 490 | 334 | 375 | 530/25,590/35
| D | 367 | 347 | 325 | 370 | 296 | 334 | 364 | 360 | 373 | 360 | 341 | 358 | 530/25,590/35
| E | 370 | 332 | 324 | 358 | 323 | 352 | 347 | 338 | 512 | 338 | 324 | 341 | 530/25,590/35
| F | 358 | 327 | 307 | 355 | 279 | 326 | 343 | 360 | 613 | 298 | 355 | 362 | 530/25,590/35
| G | 332 | 356 | 336 | 337 | 321 | 337 | 354 | 472 | 352 | 360 | 360 | 358 | 530/25,590/35
| H | 396 | 376 | 378 | 364 | 368 | 356 | 358 | 369 | 380 | 338 | 397 | 359 | 530/25,590/35