## Plate 2 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t0_34C_260504_1121.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 2
Date | 2026-05-04
Time | 11:20
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 372 | 344 | 392 | 314 | 431 | 372 | 349 | 415 | 407 | 431 | 372 | 393 | 530/25,590/35
| B | 329 | 340 | 371 | 372 | 351 | 365 | 483 | 349 | 422 | 466 | 388 | 376 | 530/25,590/35
| C | 325 | 310 | 383 | 345 | 351 | 350 | 700 | 315 | 418 | 655 | 495 | 393 | 530/25,590/35
| D | 366 | 359 | 378 | 321 | 323 | 360 | 361 | 340 | 426 | 870 | 388 | 407 | 530/25,590/35
| E | 563 | 357 | 364 | 337 | 368 | 331 | 313 | 327 | 400 | 358 | 354 | 363 | 530/25,590/35
| F | 328 | 396 | 359 | 325 | 315 | 356 | 333 | 477 | 352 | 359 | 350 | 406 | 530/25,590/35
| G | 347 | 352 | 564 | 326 | 330 | 348 | 341 | 366 | 389 | 952 | 348 | 406 | 530/25,590/35
| H | 381 | 329 | 385 | 256 | 354 | 371 | 347 | 280 | 409 | 323 | 374 | 388 | 530/25,590/35