## Plate 2 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t1_26C_260504_1211.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 2
Date | 2026-05-04
Time | 12:10
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1504 | 7795 | 759 | 480 | 425 | 380 | 445 | 364 | 432 | 1206 | 459 | 370 | 530/25,590/35
| B | 1133 | 640 | 641 | 454 | 375 | 353 | 437 | 329 | 405 | 427 | 408 | 382 | 530/25,590/35
| C | 1131 | 1228 | 552 | 1543 | 342 | 346 | 2592 | 324 | 440 | 1014 | 645 | 439 | 530/25,590/35
| D | 388 | 481 | 373 | 368 | 359 | 365 | 389 | 349 | 456 | 547 | 411 | 404 | 530/25,590/35
| E | 391 | 434 | 438 | 1831 | 384 | 325 | 433 | 960 | 339 | 420 | 326 | 415 | 530/25,590/35
| F | 394 | 372 | 415 | 403 | 380 | 338 | 386 | 349 | 462 | 466 | 424 | 536 | 530/25,590/35
| G | 420 | 576 | 357 | 403 | 352 | 333 | 389 | 363 | 360 | 363 | 394 | 377 | 530/25,590/35
| H | 433 | 401 | 376 | 383 | 396 | 360 | 352 | 347 | 367 | 370 | 401 | 352 | 530/25,590/35