## Plate 5 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t1_38C_260504_1229.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 5
Date | 2026-05-04
Time | 12:28
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 964 | 2232 | 938 | 1035 | 400 | 576 | 408 | 510 | 526 | 1133 | 480 | 523 | 530/25,590/35
| B | 521 | 897 | 428 | 941 | 807 | 552 | 406 | 479 | 532 | 531 | 605 | 495 | 530/25,590/35
| C | 473 | 410 | 377 | 848 | 460 | 1189 | 383 | 1016 | 465 | 481 | 542 | 506 | 530/25,590/35
| D | 574 | 700 | 710 | 1131 | 340 | 1058 | 609 | 355 | 477 | 1634 | 518 | 629 | 530/25,590/35
| E | 1198 | 2060 | 436 | 730 | 535 | 501 | 467 | 378 | 529 | 518 | 1778 | 584 | 530/25,590/35
| F | 1477 | 421 | 441 | 1321 | 1759 | 755 | 535 | 766 | 514 | 984 | 558 | 654 | 530/25,590/35
| G | 1343 | 492 | 1943 | 1576 | 1173 | 1055 | 536 | 624 | 559 | 1279 | 497 | 663 | 530/25,590/35
| H | 393 | 439 | 386 | 453 | 370 | 407 | 381 | 380 | 399 | 370 | 395 | 585 | 530/25,590/35