## Plate 7 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t2_30C_260504_0119.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 7
Date | 2026-05-04
Time | 13:18
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 2221 | 996 | 1340 | 1489 | 1856 | 2753 | 2113 | 2086 | 732 | 3242 | 639 | 414 | 530/25,590/35
| B | 561 | 792 | 2378 | 2135 | 510 | 417 | 2135 | 680 | 2869 | 1330 | 469 | 1338 | 530/25,590/35
| C | 511 | 1353 | 3112 | 1487 | 476 | 956 | 676 | 404 | 704 | 1324 | 2079 | 2265 | 530/25,590/35
| D | 833 | 1677 | 2263 | 1947 | 600 | 419 | 1213 | 2191 | 3263 | 830 | 521 | 673 | 530/25,590/35
| E | 1443 | 1942 | 1684 | 1279 | 445 | 1666 | 492 | 563 | 2927 | 636 | 535 | 411 | 530/25,590/35
| F | 1488 | 2151 | 1505 | 2506 | 485 | 555 | 644 | 1697 | 3556 | 493 | 548 | 1352 | 530/25,590/35
| G | 1001 | 513 | 1964 | 1448 | 999 | 398 | 460 | 2093 | 3980 | 614 | 2329 | 504 | 530/25,590/35
| H | 420 | 455 | 393 | 494 | 384 | 496 | 372 | 695 | 394 | 565 | 406 | 626 | 530/25,590/35