## Plate 8 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t2_34C_260504_0128.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 8
Date | 2026-05-04
Time | 13:27
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1009 | 2834 | 1389 | 5621 | 2057 | 1390 | 793 | 1368 | 980 | 1476 | 753 | 1145 | 530/25,590/35
| B | 810 | 1715 | 1559 | 2712 | 1008 | 1261 | 861 | 1083 | 951 | 824 | 721 | 1867 | 530/25,590/35
| C | 560 | 3743 | 2298 | 1271 | 1353 | 1599 | 2236 | 1491 | 631 | 3176 | 880 | 776 | 530/25,590/35
| D | 620 | 890 | 1450 | 1342 | 1567 | 1803 | 727 | 1097 | 595 | 2165 | 928 | 852 | 530/25,590/35
| E | 1290 | 2031 | 1852 | 2516 | 567 | 1786 | 591 | 577 | 762 | 803 | 666 | 692 | 530/25,590/35
| F | 1675 | 3795 | 1318 | 1703 | 479 | 817 | 678 | 939 | 613 | 497 | 602 | 1182 | 530/25,590/35
| G | 698 | 2396 | 2980 | 1891 | 1075 | 728 | 641 | 1068 | 733 | 1222 | 626 | 812 | 530/25,590/35
| H | 421 | 678 | 411 | 490 | 378 | 574 | 366 | 430 | 432 | 655 | 393 | 574 | 530/25,590/35