## Plate 9 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t2_38C_260504_0134.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 9
Date | 2026-05-04
Time | 13:33
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1514 | 2960 | 1339 | 1387 | 755 | 807 | 611 | 821 | 913 | 1659 | 658 | 616 | 530/25,590/35
| B | 820 | 1119 | 787 | 1602 | 1076 | 841 | 524 | 718 | 721 | 755 | 804 | 1684 | 530/25,590/35
| C | 796 | 764 | 456 | 1515 | 780 | 1363 | 560 | 1116 | 653 | 706 | 741 | 544 | 530/25,590/35
| D | 865 | 956 | 1406 | 1419 | 595 | 1254 | 783 | 413 | 730 | 1808 | 685 | 840 | 530/25,590/35
| E | 1661 | 2404 | 1135 | 1449 | 848 | 731 | 528 | 659 | 691 | 706 | 2018 | 730 | 530/25,590/35
| F | 2044 | 694 | 716 | 2179 | 1724 | 779 | 799 | 886 | 699 | 1191 | 716 | 908 | 530/25,590/35
| G | 1665 | 868 | 2348 | 1969 | 1500 | 1360 | 659 | 816 | 933 | 1418 | 580 | 837 | 530/25,590/35
| H | 410 | 506 | 394 | 612 | 378 | 461 | 390 | 421 | 410 | 402 | 409 | 689 | 530/25,590/35