## Plate 10 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t3_26C_260504_0221.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 10
Date | 2026-05-04
Time | 14:20
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1988 | 9640 | 6729 | 4845 | 908 | 2873 | 2761 | 768 | 594 | 1823 | 681 | 502 | 530/25,590/35
| B | 1595 | 2357 | 4227 | 3528 | 655 | 1639 | 815 | 744 | 614 | 521 | 690 | 517 | 530/25,590/35
| C | 1534 | 2813 | 2338 | 3809 | 693 | 1460 | 2947 | 839 | 835 | 2322 | 1502 | 656 | 530/25,590/35
| D | 1946 | 3598 | 1103 | 977 | 569 | 2130 | 782 | 1389 | 859 | 2712 | 657 | 693 | 530/25,590/35
| E | 933 | 5677 | 3691 | 2735 | 768 | 795 | 678 | 2198 | 899 | 821 | 726 | 647 | 530/25,590/35
| F | 938 | 4314 | 1568 | 3877 | 717 | 603 | 520 | 592 | 768 | 807 | 618 | 668 | 530/25,590/35
| G | 878 | 3393 | 1115 | 2744 | 1120 | 1026 | 657 | 1022 | 807 | 823 | 611 | 510 | 530/25,590/35
| H | 464 | 644 | 396 | 472 | 417 | 635 | 366 | 705 | 383 | 703 | 421 | 494 | 530/25,590/35