## Plate 12 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t3_34C_260504_0231.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 12
Date | 2026-05-04
Time | 14:30
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1349 | 6260 | 2530 | 9671 | 2794 | 1741 | 1108 | 1679 | 1280 | 1658 | 1097 | 1915 | 530/25,590/35
| B | 1616 | 2604 | 1984 | 3027 | 1245 | 3545 | 1053 | 1188 | 1310 | 903 | 798 | 3330 | 530/25,590/35
| C | 913 | 3743 | 2775 | 1429 | 2618 | 2323 | 2445 | 1727 | 710 | 3763 | 1162 | 1077 | 530/25,590/35
| D | 789 | 1285 | 2065 | 1717 | 1802 | 2966 | 811 | 1888 | 711 | 2423 | 1325 | 1130 | 530/25,590/35
| E | 1599 | 2456 | 2026 | 2861 | 760 | 2835 | 767 | 789 | 966 | 920 | 772 | 936 | 530/25,590/35
| F | 2091 | 4624 | 2391 | 2607 | 717 | 1034 | 875 | 1130 | 733 | 601 | 707 | 3424 | 530/25,590/35
| G | 830 | 3649 | 5310 | 2729 | 1216 | 1176 | 849 | 1242 | 1015 | 1808 | 822 | 1043 | 530/25,590/35
| H | 428 | 992 | 416 | 599 | 383 | 696 | 372 | 488 | 440 | 823 | 401 | 670 | 530/25,590/35