## Plate 14 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t4_26C_260504_0326.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 14
Date | 2026-05-04
Time | 15:25
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 5893 | 10355 | 8583 | 5829 | 2632 | 4041 | 2905 | 889 | 716 | 4055 | 1470 | 534 | 530/25,590/35
| B | 1787 | 3651 | 4841 | 4372 | 824 | 1892 | 902 | 885 | 657 | 576 | 1642 | 1805 | 530/25,590/35
| C | 2986 | 3799 | 2615 | 4753 | 848 | 3229 | 3629 | 983 | 1070 | 2518 | 3429 | 818 | 530/25,590/35
| D | 3977 | 4136 | 1355 | 2231 | 825 | 2102 | 1043 | 1769 | 1012 | 4512 | 724 | 850 | 530/25,590/35
| E | 980 | 6731 | 4644 | 3411 | 937 | 922 | 734 | 2116 | 1707 | 972 | 810 | 767 | 530/25,590/35
| F | 2548 | 3910 | 1491 | 5044 | 823 | 688 | 582 | 648 | 1056 | 992 | 726 | 822 | 530/25,590/35
| G | 2945 | 4365 | 1493 | 2654 | 1304 | 1066 | 687 | 901 | 859 | 854 | 761 | 580 | 530/25,590/35
| H | 472 | 794 | 399 | 542 | 423 | 872 | 369 | 898 | 387 | 800 | 426 | 589 | 530/25,590/35