## Plate 15 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t4_30C_260504_0328.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 15
Date | 2026-05-04
Time | 15:28
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 4509 | 5311 | 4291 | 4315 | 2304 | 4658 | 2358 | 4628 | 1147 | 6277 | 1344 | 568 | 530/25,590/35
| B | 889 | 3177 | 4406 | 3322 | 1291 | 808 | 4286 | 1055 | 4696 | 1761 | 659 | 3270 | 530/25,590/35
| C | 3602 | 2119 | 4394 | 2056 | 1058 | 4056 | 966 | 1341 | 1634 | 1712 | 4482 | 5728 | 530/25,590/35
| D | 1263 | 5530 | 3063 | 3379 | 1107 | 1689 | 3323 | 3197 | 4110 | 1425 | 852 | 1084 | 530/25,590/35
| E | 2276 | 4588 | 5072 | 2481 | 890 | 3309 | 1041 | 2678 | 3325 | 1123 | 4059 | 1541 | 530/25,590/35
| F | 4453 | 3003 | 2241 | 4073 | 978 | 952 | 1050 | 3830 | 6075 | 835 | 869 | 4556 | 530/25,590/35
| G | 1543 | 2549 | 2540 | 2538 | 1491 | 1878 | 737 | 3354 | 5570 | 3806 | 4187 | 759 | 530/25,590/35
| H | 450 | 560 | 413 | 714 | 403 | 671 | 391 | 1079 | 415 | 1109 | 427 | 1003 | 530/25,590/35