## Plate 19 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t5_30C_260504_0433.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 19
Date | 2026-05-04
Time | 16:32
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 5788 | 6517 | 5620 | 5169 | 2547 | 6465 | 2491 | 5263 | 1408 | 7671 | 2822 | 919 | 530/25,590/35
| B | 1130 | 4900 | 6007 | 5960 | 1596 | 1251 | 5869 | 1320 | 4899 | 2203 | 750 | 3951 | 530/25,590/35
| C | 5047 | 4254 | 7249 | 3347 | 1191 | 5985 | 1546 | 2236 | 2028 | 1940 | 5708 | 6918 | 530/25,590/35
| D | 1475 | 6866 | 3372 | 3764 | 1330 | 1965 | 3925 | 4103 | 4656 | 4959 | 919 | 1307 | 530/25,590/35
| E | 2980 | 6437 | 5649 | 2481 | 902 | 4949 | 1080 | 2714 | 3354 | 3490 | 4160 | 2444 | 530/25,590/35
| F | 5962 | 4410 | 2479 | 5502 | 1075 | 1070 | 1208 | 4544 | 7073 | 2403 | 1966 | 5487 | 530/25,590/35
| G | 1810 | 5861 | 2709 | 3781 | 2208 | 2727 | 771 | 4240 | 5647 | 3917 | 4661 | 857 | 530/25,590/35
| H | 465 | 607 | 422 | 813 | 411 | 742 | 398 | 1268 | 420 | 1435 | 431 | 1213 | 530/25,590/35