## Plate 1 - Sheet1
Software Version | 3.08.01
Experiment File Path: | E:\Resaz_Assay_t5_38C_260504_1644.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Resaz_Assay.prt
Plate Number | Plate 1
Date | 2026-05-04
Time | 16:44
Reader Type: | Synergy LX
Reader Serial Number: | 190227A
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1 (Red)
Excitation: 530/25, Emission: 590/35
Mirror: Top 570 nm, Gain: 35
Light Source: Tungsten, Standard Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 8.25 mm
Results
Actual Temperature: | 0
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 6063 | 8421 | 6310 | 3990 | 1364 | 4224 | 907 | 2955 | 3474 | 5436 | 1122 | 3668 | 530/25,590/35
| B | 4651 | 4670 | 5713 | 5652 | 3723 | 5305 | 704 | 1325 | 4354 | 1535 | 4216 | 8570 | 530/25,590/35
| C | 2158 | 4459 | 4220 | 3311 | 1789 | 2279 | 850 | 1666 | 3348 | 1200 | 3892 | 3764 | 530/25,590/35
| D | 6251 | 3399 | 6355 | 2804 | 993 | 1632 | 2763 | 657 | 1198 | 3035 | 1071 | 3741 | 530/25,590/35
| E | 11453 | 10522 | 4092 | 4366 | 1898 | 2443 | 2235 | 1256 | 1633 | 1834 | 14312 | 1426 | 530/25,590/35
| F | 8525 | 1360 | 2496 | 4391 | 4661 | 1126 | 1870 | 2021 | 1199 | 3488 | 2342 | 3381 | 530/25,590/35
| G | 8187 | 1513 | 6147 | 3380 | 2477 | 3213 | 1129 | 4091 | 1543 | 3713 | 1042 | 2190 | 530/25,590/35
| H | 555 | 768 | 442 | 1054 | 419 | 627 | 434 | 558 | 465 | 521 | 502 | 1142 | 530/25,590/35